## Sheet1
Faculty/PI Lab | Description | Make | Model
Barabutis | MYIQ SINGLE DETECTION SYSTEM | BIORAD | MYIQ
Barabutis | SHIMADZU UV-VIS DETECTOR | SHIMADZU LINKSYS | SPD-20A
Barabutis | EPITHELIAL VOLTOHMETER | WORLD PRECISION | EVOM2
Barabutis | GENOVA LSC ANALYZER | JENWAY | GENOVA
Barabutis | HA STEREOTAX FOR SINGLE RAT | HARVARD APPARATUS | 729564
Barabutis | BIORAD TRANS BLOT CELL | BIORAD | TRANS BLOT CELL
Barabutis | BIO RAD MINI-PROTEAN TETRA CELL | BIO RAD | MINI-PROTEAN
Barabutis | APPLIED BIOPHYSICS ECIS Z0 (ZTHETA) CONTROLLER SYSTEM | APPLIED BIOPHYSICS | ECIS Z0 (ZTHETA)
Barabutis | BMG LABTECH SPECTROSTAR NANO MICROPLATE READER | BMG LABTECH | SPECTROSTAR NANO
Briski | MUROMACHI MICROWAVE FIXATION SYSTEM 5KW | MUROMACHI | MMW-05
Briski | APPLICATOR HEAD FOR RODENT SIZES 250-600g | STOELTING | TAW 424MP
Briski | RODENT RESTRAINER 250-400g | STOELTING | W JM 28
Briski | BRINKMAN MICROCENTRIFUGE
Briski | NIKON E400 MICROSCOPE | NIKON | E400
Briski | LEICA CRYOSTAT
Briski | PELTIER TEMP CONTROLLER
Briski | FD/DR INTERFACE KIT |  | 803501BC
Briski | COMPOUND MICROSCOPE | VISTA VISION | BBP
Briski | CRITERION BLOT PLATE | CRITERION
Briski | ICYCLER IQ OPTICAL SYSTEM | BIO RAD
Briski | SAVANT DNA SPEEDVAC | FISHER SCIENTIFIC | DNA120-115
Briski | EZ AUTO FLOW ANESTH SYS | EZ ANESTHESIA | EZ-AF9000
Briski | PCR WORKSTATION | AIR CLEAN SYSTEMS | AC624LFUV
Briski | LEICA CM3050 S RESEARCH CRYOSTAT - CONFIG 2 | LEICA | CM 3050 S - CONFIG 2
Briski | RETIGA R6 MICROSCOPE CAMERA - COLOR | QIMAGING | RETIGA R6 16-BIT COLOR
Briski | DRILL AND MICROINJECTION ROBOT | NEUROSTAR
Briski | BIO RAD CHEMIDOC MP IMAGING SYSTEM | BIO RAD | CHEMIDOC MP
Briski | AMERICAN BIOTECH 36 CU. FT. CHROMATOGRAPHY REFRIGERATOR | AMERICAN BIOTECH | ABT-CS-36
Briski | BIO RAD CFX384 REAL-TIME PCR DETECTION SYSTEM | BIO RAD | CFX384
Briski | ZEISS CAMERA SYSTEM | ZEISS | AXIOCAM HRC
Briski | STOELTING STEREOTAXIC INSTRUMENT | STOELTING | 51725D
Briski | BKMAN COULTER MICROCENTIFUGE | VWR BECKMAN COULTER | 367160
Briski | MICROTOME KNIFE SHRP | AMERICAN OPTICAL | 925
Briski | ZEISS PALM MICROBEAM MICROSCOPE IV | ZEISS | OBSERVER Z.1 AX10
Briski | PASCAL CONFOCAL MICROSCOPE | PASCAL | LSM 5
Briski | VANQUISH HORIZON UHPLC/ISQ EC LC MASS SPECTROMETER | THERMO FISHER SCIENTIFIC | VANQUISH HORIZON/ISQ ECLC
El Sayed | MOTIC AE2000 TRINOCULAR MICROSCOPE | MOTIC | AE2000
El Sayed | BIOTEK MICROPLATE READER | BIOTEK | SYNERGY
El Sayed | NIKON ECLIPSE TI2 INTELLIGENT MICROSCOPE | NIKON | TI2
El Sayed | DRYING CHAMBER | N/A | N/A
El Sayed | AUTOMATIC POLARIMETER |  | A21101
El Sayed | EPPENDORF MASTERCYCLER GRADIENT | VWR EPPENDORF | AG5331
El Sayed | TLC SPRAY CABINET WITH BLOWER | CAMAG | 0226231
Jackson | MOUSE SPECIMEN PLATFORM | HATTERAS | SC1000 RSP
Jackson | RAT BLOOD PRESSURE SYS | HATTERAS | SC1000
Jackson | PHD 2000 SYRINGE PUMP | HARVARD APPARATUS | PHD 2000
Jackson | SYNERGY 2 MICROPLATE READER | BIOTEK INST | SYN2
Liu | SYNERGY MICROPLATE READER | SYNERGY
Liu | MASTERCYCLER EP GRAD S MAN | EPPENDORF | N/A
Liu | CONTROL PANEL MASTERCYCLER EP | EPPENDORF | N/A
Liu | SPECTROPHOTOMETER | BIO-RAD | SMARTSPEC PLUS
Liu | PCR WORKSTATION W/BULBS | PCR | AIRCLEAN 600
Liu | LICOR C-DIGIT BLOT SCANNER | LICOR | 3600
Liu | LIFE TECH COLOR IMAGING SYS | LIFE TECHNOLOGIES | AMEFC4300
Liu | AT INFINITY FLUORESCENCE DETECTOR | AGILENT TECHNOLOGIES | 1260 INFINITY
Matthaiolampakis | HITACHI FLOURESCE DETECT W/II PAD | HITACHI | LCE2485
Matthaiolampakis | LCS HTA PUMPW/LPG & DEGASSER | HITACHI LACHROM | L2130
Matthaiolampakis | ELECTROPHORESIS SYSTEM | AGILENT | G1600A
Matthaiolampakis | EPPENDORF VACUUM CONCENTRATOR W/PUMP | VWR EPPENDORF | 53512-624
Matthaiolampakis | MISONIX ULTRASONIC HOMOGENIZER | MISONIX | XL2000
Matthaiolampakis | VWR SPECTROPHOTOMETER | VWR | 97039-476
Matthaiolampakis | TECAN M200 MICROPLATE READER | TECAN | INFINITE M200
Matthaiolampakis | CLEANSPOT PCR WORKSTATION | COY LAB PRODUCTS | CLEANSPOT CS16
Matthaiolampakis | IKA RV 10 BASIC ROTARY EVAPORATOR | IKA | RV10BS1
Matthaiolampakis | LABCONCO FREEZONE 1 LITER BENCHTOP FREEZE DRY SYSTEM | LABCONCO | FREEZONE 1L BCH-TP
Matthaiolampakis | SIMPLIAMP THERMAL CYCLER | APPLIED BIOSYSTEMS | A24812
Matthaiolampakis | IBLOT 2 GEL TRANSFER DEVICE | INVITROGEN | IB21001
Matthaiolampakis | SORVALL ST 16R BENCHTOP CENTRIFUGE | SORVALL | ST 16R
Matthaiolampakis | NANOBROOK 90PLUS PALS PARTICLE SIZE ANALYZER | NANOBROOK | 90PLUS PALS
Matthaiolampakis | INFRARED DIODE LASER 980nm W/PSU-H-LED POWER SUPPLY | OPTO ENGINE | MDL-H-980
Matthaiolampakis | TS5 SENSOR AND LP100 LASER POWER METER | OPTO ENGINE | LP100
Matthaiolampakis | INVITROGEN QUBIT 4 FLUOROMETER | INVITROGEN | QUBIT 4
Matthaiolampakis | REFRIGERATED INCUBATOR SHAKER | THERMO SCIENTIFIC | SHKE 4000
Matthaiolampakis | INVITROGEN FLOID CELL IMAGING STATION | INVITROGEN | EVOS FLOID
Shah | REAL TIME PCR DETECTION SYSTEM | BIORAD | MYIQ OPTICAL MODULE
Shah | ICYCLER THERMAL CYCLER | MYCYCLER | ICYCLER THERMAL CYCLER
Shah | BIORAD SPECTROPHOTOMETER | BIORAD | SMARTSPEC 3000
Shah | GENE PULSER APPARATUS | BIO RAD
Shah | NIKON TS 100F MICROSCOPE | NIKON | TS100
Shah | MICROPLATE FLUOROMETER LUMINOMETER | TURNER MODULAS | 9300-002
Shah | TBS MICROTOME CRYOSTAT | TBS | MIROTOME PLUS
Shah | NIKON OPTICPHOTO MICROSCOPE | NIKON
Shah | NIKON TDH MICROSCOPE | NIKON
Sylvester | OLYMPUS MICROSCOPE INVRTD | OLYMPUS
Sylvester | BECKMAN CENTRIFUGE | BECKMAN | ALLEGRA 6
Sylvester | INCUBATED SHAKER | LAB-LINE
Sylvester | INV FLURO MICROSCOPE | NIKON | TE2000-U
Sylvester | ANALYTICAL EVAPORATOR | ORGANOMATION | N-EVAP 112
Sylvester | ELECTROCHEMICAL DETECTOR | DIONEX
Sylvester | DIONEX AUTO SAMPLER | DIONEX
Sylvester | UV VIS DETECTOR | DIONEX
Sylvester | ULTRA-CENTRIFUGE ROTOR | FISHER | F40L 6X100ML
Sylvester | OMNI HOMOGENIZER PACKAGE | OMNI | FGLH
Sylvester | PE MICROPLATE READER | PERKIN ELMER | VICTOR 3
Sylvester | NIKON FLUORS MICROSCOPE | NIKON | ECLIPSE 3400
Sylvester | TABLETOP AUTOCLAVE | TUTTNAUER/BRINKMANN | 2540E
Sylvester | DIONEX 3000 FLUO DETECTOR | DIONEX | ULTIMATE 3000
Sylvester | RETIGA R6 MICROSCOPE CAMERA - MONO | QIMAGING | RETIGA R6 16-BIT MONO
Sylvester | BECKMAN-COULTER MICROFUGE 22R REFRIGERATED MICROCENTRIFUGE | BECKMAN-COULTER | MICROFUGE 22R
Sylvester | BIO-RAD TRANS-BLOT TRANSFER CELL W/WIRE ELECTRODE & POWERPAC HC POWER SUPPLY | BIO-RAD | TRANS-BLOT
Sylvester | HACH HQ411D PH METER | HACH | HQ411D
Sylvester | TECAN INFINITE M PLEX PLATE READER | TECAN | INFINITE 200 PRO
Sylvester | BIO-RAD CHEMIDOC IMAGING SYSTEM | BIO-RAD | CHEMIDOC
Sylvester | PARASTALIC PUMB | WHEATON | UNISPENSE
Sylvester | ANALITICAL BALANCE | METTLER | XPR105
Sylvester | ULTRA COLD FREZZER | VWR | STANDING

## Sheet1 (2)
AMERICAN BIOTECH 36 CU. FT. CHROMATOGRAPHY REFRIGERATOR | AMERICAN BIOTECH | ABT-CS-36 | Briski
ANALITICAL BALANCE | METTLER | XPR105 | Sylvester
ANALYTICAL EVAPORATOR | ORGANOMATION | N-EVAP 112 | Sylvester
APPLICATOR HEAD FOR RODENT SIZES 250-600g | STOELTING | TAW 424MP | Briski
APPLIED BIOPHYSICS ECIS Z0 (ZTHETA) CONTROLLER SYSTEM | APPLIED BIOPHYSICS | ECIS Z0 (ZTHETA) | Barabutis
AT INFINITY FLUORESCENCE DETECTOR | AGILENT TECHNOLOGIES | 1260 INFINITY | Liu
AUTOMATIC POLARIMETER |  | A21101 | El Sayed
BECKMAN CENTRIFUGE | BECKMAN | ALLEGRA 6 | Sylvester
BECKMAN-COULTER MICROFUGE 22R REFRIGERATED MICROCENTRIFUGE | BECKMAN-COULTER | MICROFUGE 22R | Sylvester
BIO RAD CFX384 REAL-TIME PCR DETECTION SYSTEM | BIO RAD | CFX384 | Briski
BIO RAD CHEMIDOC MP IMAGING SYSTEM | BIO RAD | CHEMIDOC MP | Briski
BIO RAD MINI-PROTEAN TETRA CELL | BIO RAD | MINI-PROTEAN | Barabutis
BIO-RAD CHEMIDOC IMAGING SYSTEM | BIO-RAD | CHEMIDOC | Sylvester
BIO-RAD TRANS-BLOT TRANSFER CELL W/WIRE ELECTRODE & POWERPAC HC POWER SUPPLY | BIO-RAD | TRANS-BLOT | Sylvester
BIORAD SPECTROPHOTOMETER | BIORAD | SMARTSPEC 3000 | Shah
BIORAD TRANS BLOT CELL | BIORAD | TRANS BLOT CELL | Barabutis
BIOTEK MICROPLATE READER | BIOTEK | SYNERGY | El Sayed
BKMAN COULTER MICROCENTIFUGE | VWR BECKMAN COULTER | 367160 | Briski
BMG LABTECH SPECTROSTAR NANO MICROPLATE READER | BMG LABTECH | SPECTROSTAR NANO | Barabutis
BRINKMAN MICROCENTRIFUGE |  |  | Briski
CLEANSPOT PCR WORKSTATION | COY LAB PRODUCTS | CLEANSPOT CS16 | Matthalolampakis
COMPOUND MICROSCOPE | VISTA VISION | BBP | Briski
CONTROL PANEL MASTERCYCLER EP | EPPENDORF | N/A | Liu
CRITERION BLOT PLATE | CRITERION |  | Briski
DIONEX 3000 FLUO DETECTOR | DIONEX | ULTIMATE 3000 | Sylvester
DIONEX AUTO SAMPLER | DIONEX |  | Sylvester
DRILL AND MICROINJECTION ROBOT | NEUROSTAR |  | Briski
DRYING CHAMBER | N/A | N/A | El Sayed
ELECTROCHEMICAL DETECTOR | DIONEX |  | Sylvester
ELECTROPHORESIS SYSTEM | AGILENT | G1600A | Matthalolampakis
EPITHELIAL VOLTOHMETER | WORLD PRECISION | EVOM2 | Barabutis
EPPENDORF MASTERCYCLER GRADIENT | VWR EPPENDORF | AG5331 | El Sayed
EPPENDORF VACUUM CONCENTRATOR W/PUMP | VWR EPPENDORF | 53512-624 | Matthalolampakis
EZ AUTO FLOW ANESTH SYS | EZ ANESTHESIA | EZ-AF9000 | Briski
FD/DR INTERFACE KIT |  | 803501BC | Briski
GENE PULSER APPARATUS | BIO RAD |  | Shah
GENOVA LSC ANALYZER | JENWAY | GENOVA | Barabutis
HA STEREOTAX FOR SINGLE RAT | HARVARD APPARATUS | 729564 | Barabutis
HACH HQ411D PH METER | HACH | HQ411D | Sylvester
HITACHI FLOURESCE DETECT W/II PAD | HITACHI | LCE2485 | Matthalolampakis
IBLOT 2 GEL TRANSFER DEVICE | INVITROGEN | IB21001 | Matthalolampakis
ICYCLER IQ OPTICAL SYSTEM | BIO RAD |  | Briski
ICYCLER THERMAL CYCLER | MYCYCLER | ICYCLER THERMAL CYCLER | Shah
IKA RV 10 BASIC ROTARY EVAPORATOR | IKA | RV10BS1 | Matthalolampakis
INCUBATED SHAKER | LAB-LINE |  | Sylvester
INFRARED DIODE LASER 980nm W/PSU-H-LED POWER SUPPLY | OPTO ENGINE | MDL-H-980 | Matthalolampakis
INV FLURO MICROSCOPE | NIKON | TE2000-U | Sylvester
INVITROGEN FLOID CELL IMAGING STATION | INVITROGEN | EVOS FLOID | Matthalolampakis
INVITROGEN QUBIT 4 FLUOROMETER | INVITROGEN | QUBIT 4 | Matthalolampakis
LABCONCO FREEZONE 1 LITER BENCHTOP FREEZE DRY SYSTEM | LABCONCO | FREEZONE 1L BCH-TP | Matthalolampakis
LCS HTA PUMPW/LPG & DEGASSER | HITACHI LACHROM | L2130 | Matthalolampakis
LEICA CM3050 S RESEARCH CRYOSTAT - CONFIG 2 | LEICA | CM 3050 S - CONFIG 2 | Briski
LEICA CRYOSTAT |  |  | Briski
LICOR C-DIGIT BLOT SCANNER | LICOR | 3600 | Liu
LIFE TECH COLOR IMAGING SYS | LIFE TECHNOLOGIES | AMEFC4300 | Liu
MASTERCYCLER EP GRAD S MAN | EPPENDORF | N/A | Liu
MICROPLATE FLUOROMETER LUMINOMETER | TURNER MODULAS | 9300-002 | Shah
MICROTOME KNIFE SHRP | AMERICAN OPTICAL | 925 | Briski
MISONIX ULTRASONIC HOMOGENIZER | MISONIX | XL2000 | Matthalolampakis
MOTIC AE2000 TRINOCULAR MICROSCOPE | MOTIC | AE2000 | El Sayed
MOUSE SPECIMEN PLATFORM | HATTERAS | SC1000 RSP | Jackson
MUROMACHI MICROWAVE FIXATION SYSTEM 5KW | MUROMACHI | MMW-05 | Briski
MYIQ SINGLE DETECTION SYSTEM | BIORAD | MYIQ | Barabutis
NANOBROOK 90PLUS PALS PARTICLE SIZE ANALYZER | NANOBROOK | 90PLUS PALS | Matthalolampakis
NIKON E400 MICROSCOPE | NIKON | E400 | Briski
NIKON ECLIPSE TI2 INTELLIGENT MICROSCOPE | NIKON | TI2 | El Sayed
NIKON FLUORS MICROSCOPE | NIKON | ECLIPSE 3400 | Sylvester
NIKON OPTICPHOTO MICROSCOPE | NIKON |  | Shah
NIKON TDH MICROSCOPE | NIKON |  | Shah
NIKON TS 100F MICROSCOPE | NIKON | TS100 | Shah
OLYMPUS MICROSCOPE INVRTD | OLYMPUS |  | Sylvester
OMNI HOMOGENIZER PACKAGE | OMNI | FGLH | Sylvester
PARASTALIC PUMB | WHEATON | UNISPENSE | Sylvester
PASCAL CONFOCAL MICROSCOPE | PASCAL | LSM 5 | Briski
PCR WORKSTATION | AIR CLEAN SYSTEMS | AC624LFUV | Briski
PCR WORKSTATION W/BULBS | PCR | AIRCLEAN 600 | Liu
PE MICROPLATE READER | PERKIN ELMER | VICTOR 3 | Sylvester
PELTIER TEMP CONTROLLER |  |  | Briski
PHD 2000 SYRINGE PUMP | HARVARD APPARATUS | PHD 2000 | Jackson
RAT BLOOD PRESSURE SYS | HATTERAS | SC1000 | Jackson
REAL TIME PCR DETECTION SYSTEM | BIORAD | MYIQ OPTICAL MODULE | Shah
REFRIGERATED INCUBATOR SHAKER | THERMO SCIENTIFIC | SHKE 4000 | Matthalolampakis
RETIGA R6 MICROSCOPE CAMERA - COLOR | QIMAGING | RETIGA R6 16-BIT COLOR | Briski
RETIGA R6 MICROSCOPE CAMERA - MONO | QIMAGING | RETIGA R6 16-BIT MONO | Sylvester
RODENT RESTRAINER 250-400g | STOELTING | W JM 28 | Briski
SAVANT DNA SPEEDVAC | FISHER SCIENTIFIC | DNA120-115 | Briski
SHIMADZU UV-VIS DETECTOR | SHIMADZU LINKSYS | SPD-20A | Barabutis
SIMPLIAMP THERMAL CYCLER | APPLIED BIOSYSTEMS | A24812 | Matthalolampakis
SORVALL ST 16R BENCHTOP CENTRIFUGE | SORVALL | ST 16R | Matthalolampakis
SPECTROPHOTOMETER | BIO-RAD | SMARTSPEC PLUS | Liu
STOELTING STEREOTAXIC INSTRUMENT | STOELTING | 51725D | Briski
SYNERGY 2 MICROPLATE READER | BIOTEK INST | SYN2 | Jackson
SYNERGY MICROPLATE READER | SYNERGY |  | Liu
TABLETOP AUTOCLAVE | TUTTNAUER/BRINKMANN | 2540E | Sylvester
TBS MICROTOME CRYOSTAT | TBS | MIROTOME PLUS | Shah
TECAN INFINITE M PLEX PLATE READER | TECAN | INFINITE 200 PRO | Sylvester
TECAN M200 MICROPLATE READER | TECAN | INFINITE M200 | Matthalolampakis
TLC SPRAY CABINET WITH BLOWER | CAMAG | 0226231 | El Sayed
TS5 SENSOR AND LP100 LASER POWER METER | OPTO ENGINE | LP100 | Matthalolampakis
ULTRA COLD FREZZER | VWR | STANDING | Sylvester
ULTRA-CENTRIFUGE ROTOR | FISHER | F40L 6X100ML | Sylvester
UV VIS DETECTOR | DIONEX |  | Sylvester
VANQUISH HORIZON UHPLC/ISQ EC LC MASS SPECTROMETER | THERMO FISHER SCIENTIFIC | VANQUISH HORIZON/ISQ ECLC | Briski
VWR SPECTROPHOTOMETER | VWR | 97039-476 | Matthalolampakis
ZEISS CAMERA SYSTEM | ZEISS | AXIOCAM HRC | Briski
ZEISS PALM MICROBEAM MICROSCOPE IV | ZEISS | OBSERVER Z.1 AX10 | Briski